## Availab 23-24 (hidden)
Availability of Generating Stations during FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL |  | May |  | June
|  |  | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 87.49 | 746.3513
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 81.14 | 279.2027
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 75.63 | 215.059
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 94.19 | 267.8357
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 80.3 | 114.1693
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 77.4 | 325.6466
Srisailam RCPH | 770 | 1 | 100 | 548.856
NSRCPH | 90 | 1 | 100 | 64.152
NSTPDC PH | 50 | 1 | 100 | 35.64
Upper Sileru | 240 | 1 | 100 | 171.072
Lower Sileru | 460 | 1 | 100 | 327.888
Donkarayi | 25 | 1 | 100 | 17.82
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.7128
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 64.5 | 717.9005
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 66.43 | 372.6564
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 72.63 | 529.6679
SEMBCORP-P1 | 230.55 | - | 96.25 | 159.7686
SEMBCORP-P2 | 625 | - | TO BE TAKEN SAME AS DESPATCH

## APRIL (hidden)
Energy details of Generating Stations during APRIL FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 684.7117 | 82.9399 | 35.9126
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 278.216 | 83.5483 | 15.5566
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 187.453 | 68.1191 | 11.6151
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 243.5301 | 88.4972 | 26.2328
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 105.844 | 76.926 | 7.1878
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 261.469 | 64.2178 | 16.4991
Srisailam RCPH | 770 | 1 | 100 | 548.856 | 4.8829 | 0.88965 | 543.9731
NSRCPH | 90 | 1 | 100 | 64.152 | 0.058315 | 0.090901 | 64.0937
NSTPDC PH | 50 | 1 | 100 | 35.64 | 0.2164 | 0.60718 | 35.4236
Upper Sileru | 240 | 1 | 100 | 171.072 | 24.1645 | 14.1254 | 146.9075
Lower Sileru | 460 | 1 | 100 | 327.888 | 81.9874 | 25.0047 | 245.9006
Donkarayi | 25 | 1 | 100 | 17.82 | 2.6701 | 14.9839 | 15.1499
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.011186 | - | 0
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.26995 | 37.8718 | 0.44285
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 25.1838 | 58.8847 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 3.104 | 7.5602 | 0
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 589.968 | 54.7727 | 20.759
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 365.041 | 67.2416 | 4.606
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 403.851 | 57.2234 | -
SEMBCORP-P1 | 230.55 | 6 | 96.25 | 159.7686 | 158.2205 | 95.3158 | 1.5481
SEMBCORP-P2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 304.8496 | 72.0685 | 0
Ramagundam St-I&II | 289.737 | 7.04 | 93.448 | 165.3388 | 141.3275 | 85.4775 | 24.0112 | The PLF>100% implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
Ramagundam St-III | 72.735 | 6.25 | 104.75 | 45.2025 | 36.6437 | 81.0656 | 8.5588
Talcher St-II | 181.34 | 6.25 | 103.542 | 123.8047 | 118.0526 | 95.3539 | 5.7521
Simhadri St-I | 461.1 | 5.75 | 97.226 | 304.2225 | 254.0304 | 83.5015 | 50.1922
Simhadri St-II | 216.93 | 5.75 | 103.925 | 148.6424 | 121.5941 | 81.8031 | 27.0483
Kudgi St-I | 226.992 | 6.25 | 105 | 145.3334 | 86.7352 | 59.6802 | 58.5982
Vallur | 86.589 | 6.25 | 101.547 | 59.3456 | 51.1457 | 86.1828 | 8.1999
NLC TPS-II St-I | 46.959 | 10 | 50.936 | 14.2692 | 15.3303 | 107.4363 | -
NLC TPS-II St-II | 85.934 | 10 | 47.96 | 25.117 | 26.4057 | 105.1307 | -
NLC TPS-I Expansion | 2.323 | 8.5 | 92.748 | 1.4192 | 1.4023 | 98.8126 | 0.016851
NLC TPS-II Expansion | 2.766 | 10 | 60.921 | 1.0896 | 1.0833 | 99.4212 | 0.0063069
NNTPS | 52.717 | 6.25 | 98.66 | 32.7857 | 34.9173 | 106.5015 | -
NTPL | 121.766 | 5.75 | 98.615 | 80.5183 | 66.8443 | 83.0176 | 13.674

## MAY (hidden)
Availability of Generating Stations during MAY FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | MAY
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 87.49 | 746.3513 | 709.547 | 83.1757 | 36.8043
Dr. NTTPS-IV | 500 | 7.5 | 81.14 | 279.2027 | 259.594 | 75.4414 | 19.6087
RTPP Stage-I | 420 | 9 | 75.63 | 215.059 | 208.0504 | 73.1653 | 7.0086
RTPP Stage-II | 420 | 9 | 94.19 | 267.8357 | 241.7625 | 85.0208 | 26.0732
RTPP Stage-III | 210 | 9 | 80.3 | 114.1693 | 107.4189 | 75.5522 | 6.7504
RTPP Stage-IV | 600 | 5.75 | 77.4 | 325.6466 | 299.049 | 71.0783 | 26.5976
Srisailam RCPH | 770 | 1 | 100 | 567.1512 | -0.07375 | - | -
NSRCPH | 90 | 1 | 100 | 66.2904 | -0.036508 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.068 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 35.6113 | 20.145 | -
Lower Sileru | 460 | 1 | 100 | 338.8176 | 88.3418 | 26.0736 | -
Donkarayi | 25 | 1 | 100 | 18.414 | -0.15718 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.020391 | - | -
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.73656 | -0.0024 | - | -
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 32.5494 | 73.6518 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2102 | - | -
APPDCL Stage-I | 1600 | 6.5 | 64.5 | 717.9005 | 697.182 | 62.6385 | 20.7185
APPDCL Stage-II | 800 | 5.75 | 66.43 | 372.6564 | 358.6245 | 63.9287 | 14.0319
HNPCL | 1040 | 5.75 | 72.63 | 529.6679 | 502.285 | 68.8752 | 27.3829
SEMBCORP-P1 | 230.55 | 6 | 97.4 | 167.0694 | 161.1793 | 93.9661 | 5.8901
SEMBCORP-P2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 355.7062 | 81.3787 | 0
Ramagundam St-I&II | 289.737 | 7.04 | 86.569 | 166.3202 | 146.3649 | 88.0019 | 19.9552
Ramagundam St-III | 72.735 | 6.25 | 104.741 | 51.0229 | 44.2174 | 86.6619 | 6.8055
Talcher St-II | 181.34 | 6.25 | 102.931 | 127.1909 | 117.601 | 92.4602 | 9.5899
Simhadri St-I | 461.1 | 5.75 | 99.445 | 321.538 | 254.763 | 79.2326 | 66.7751
Simhadri St-II | 216.93 | 5.75 | 98.535 | 145.8866 | 70.7968 | 48.5287 | 75.0898
Kudgi St-I | 226.992 | 6.25 | 101.718 | 150.8304 | 82.1678 | 54.4769 | 68.6627
Vallur | 86.589 | 6.25 | 70.133 | 42.3603 | 37.548 | 88.6396 | 4.8123
NLC TPS-II St-I | 46.959 | 10 | 47.695 | 13.8048 | 15.0778 | 109.2214 | - | The PLF>100% implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC TPS-II St-II | 85.934 | 10 | 18.3 | 9.9043 | 10.4099 | 105.1048 | -
NLC TPS-I Expansion | 2.323 | 8.5 | 71.306 | 1.1295 | 1.3997 | 123.9218 | -
NLC TPS-II Expansion | 2.766 | 10 | 41.639 | 0.77092 | 0.74748 | 96.9591 | 0.023443
NNTPS | 52.717 | 6.25 | 82.109 | 28.1952 | 30.0155 | 106.4562 | -
NTPL | 121.766 | 5.75 | 69.052 | 58.957 | 49.1888 | 83.4317 | 9.7682

## JUNE (hidden)
Availability of Generating Stations during JUNE FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | JUNE
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 84.79 | 699.9855 | 671.618 | 81.3538 | 28.3675
Dr. NTTPS-IV | 500 | 7.5 | 95.84 | 319.1472 | 305.4565 | 91.7287 | 13.6907
RTPP Stage-I | 420 | 9 | 84.08 | 231.3747 | 222.5963 | 80.89 | 8.7784
RTPP Stage-II | 420 | 9 | 92.44 | 254.3801 | 230.8095 | 83.8746 | 23.5706
RTPP Stage-III | 210 | 9 | 74.98 | 103.1665 | 97.7748 | 71.0614 | 5.3917
RTPP Stage-IV | 600 | 5.75 | 80.44 | 327.5195 | 296.911 | 72.9224 | 30.6085
Srisailam RCPH | 770 | 1 | 100 | 548.856 | -0.3115 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.036182 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.1029 | - | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 33.9458 | 19.843 | 137.1262
Lower Sileru | 460 | 1 | 100 | 327.888 | 75.9099 | 23.1512 | 251.9781
Donkarayi | 25 | 1 | 100 | 17.82 | -0.16082 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.019718 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.25238 | 35.4061 | 0.46042
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 42.3558 | 99.0362 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2411 | - | -
APPDCL Stage-I | 1600 | 6.5 | 49.24 | 530.3739 | 530.635 | 49.2642 | -0.26111
APPDCL Stage-II | 800 | 5.75 | 72.75 | 394.9452 | 394.7085 | 72.7064 | 0.2367
HNPCL | 1040 | 5.75 | 72.33 | 510.4646 | 463.577 | 65.6863 | 46.8876
Thermal Powertech Corporation (SEIL P1) | 230.55 | 6 | 96.54 | 160.2525 | 154.1699 | 98.8039 | -
SEIL P 2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 255.6 | 60.4255 | 0
NTPC(SR) Ramagundam I & II | 289.391 | 7.04 | 75.863 | 140.6445 | 129.9872 | 70.1145 | 10.6573
NTPC(SR) Ramagundam III | 72.648 | 6.25 | 104.86 | 49.2915 | 44.6129 | 94.9068 | 4.6787
NTPC(SR) Talcher Stage-II | 181.222 | 6.25 | 79.404 | 94.7822 | 87.9433 | 73.6747 | 6.8389
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 101.974 | 319.0792 | 266.1313 | 85.0525 | 52.9478
NTPC(SR) Simhadri Stage-II | 216.855 | 5.75 | 98.146 | 140.5033 | 104.3797 | 72.9125 | 36.1236
NTPC Kudgi Stage-I | 226.574 | 6.25 | 104.052 | 148.6737 | 99.9413 | 69.9458 | 48.7323
NTECL Valluru | 86.427 | 6.69 | 88.057 | 51.0162 | 46.7744 | 80.7355 | 4.2418
NLC Stage-I | 46.873 | 10 | 69.972 | 19.5205 | 21.2353 | 70.0751 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.819 | 10 | 28.363 | 14.8104 | 15.6156 | 28.1257 | -
NLC TPS- I Expn. | 2.233 | 8.5 | 66.194 | 0.92494 | 0.96129 | 68.7954 | - |  | 0.065345
NLC TPS- II Expn. | 2.658 | 10 | 51.537 | 0.83824 | 0.81714 | 50.2397 | 0.0211
NLC NNTPS | 52.707 | 6.25 | 94.3 | 31.325 | 32.4573 | 91.2601 | -
NTPL(NLC TamilNadu) | 120.987 | 5.75 | 76.578 | 63.0865 | 58.148 | 70.5834 | 4.9385

## July (hidden)
Availability of Generating Stations during JULY FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | JULY
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 69.21 | 590.41 | 569.6997 | 69.0083 | 20.7103
Dr. NTTPS-IV | 500 | 7.5 | 82.31 | 283.2287 | 268.101 | 80.5108 | 15.1277
RTPP Stage-I | 420 | 9 | 75.14 | 213.6657 | 206.5798 | 75.0697 | 7.0859
RTPP Stage-II | 420 | 9 | 48.18 | 137.0031 | 125.2264 | 45.5064 | 11.7767
RTPP Stage-III | 210 | 9 | 70.9 | 100.8045 | 98.3163 | 71.455 | 2.4882
RTPP Stage-IV | 600 | 5.75 | 77 | 323.9636 | 296.451 | 72.8095 | 27.5126
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.1806 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.029558 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0903 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 35.4674 | 20.7324 | 141.307
Lower Sileru | 460 | 1 | 100 | 338.8176 | 87.6295 | 26.7254 | 251.1881
Donkarayi | 25 | 1 | 100 | 18.414 | 1.558 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.020371 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.35707 | 50.0947 | 0.37949
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 43.9866 | 102.8493 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.4221 | - | -
APPDCL Stage-I | 1600 | 6.5 | 45.84 | 510.2102 | 505.2 | 46.9029 | 5.0102
APPDCL Stage-II | 800 | 5.75 | 45.9 | 257.488 | 256.49 | 47.2462 | 0.99798
HNPCL | 1040 | 5.75 | 57.99 | 422.903 | 419.948 | 59.5043 | 2.955
Thermal Powertech Corporation (SEIL P1) | 230.55 | 6 | 97.62 | 167.4468 | 154.9298 | 99.2909 | -
SEIL P 2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 260.4 | 61.5603 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 84.712 | 162.8139 | 148.2021 | 79.6798 | 14.6119
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 102.849 | 49.9793 | 42.8836 | 91.1889 | 7.0957
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 79.793 | 96.7072 | 70.7292 | 60.3038 | 25.978
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 104.978 | 339.428 | 271.8605 | 86.8835 | 67.5675
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 51.059 | 74.1421 | 56.8957 | 40.4881 | 17.2463
NTPC Kudgi Stage-I | 209.496 | 6.25 | 79.196 | 115.7239 | 88.7292 | 62.7462 | 26.9947
NTECL Valluru | 87.165 | 6.69 | 103.462 | 62.6072 | 53.023 | 90.5443 | 9.5842
NLC Stage-I | 46.5381 | 10 | 37.971 | 10.893 | 11.8348 | 39.2445 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.47 | 10 | 27.559 | 14.8338 | 15.7328 | 28.4065 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 93.895 | 1.4631 | 1.3654 | 90.5462 | 0.097698
NLC TPS- II Expn. | 2.68 | 10 | 63.965 | 1.1479 | 1.105 | 63.6265 | 0.042907
NLC NNTPS | 52.68 | 6.25 | 91.845 | 31.5204 | 31.8116 | 89.4614 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 51.537 | 45.2891 | 42.0292 | 49.4216 | 3.2599

## August (hidden)
Availability of Generating Stations during August FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | AUGUST
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 65.82 | 561.4909 | 550.157 | 64.4914 | 11.3339
Dr. NTTPS-IV | 500 | 7.5 | 75.25 | 258.9352 | 251.2145 | 73.0062 | 7.7208
RTPP Stage-I | 420 | 9 | 73.57 | 209.2013 | 205.5808 | 72.2968 | 3.6205
RTPP Stage-II | 420 | 9 | 89.27 | 253.8453 | 243.0336 | 85.4678 | 10.8117
RTPP Stage-III | 210 | 9 | 5.7 | 8.1042 | 5.6226 | 3.9546 | 2.4816
RTPP Stage-IV | 600 | 5.75 | 70.69 | 297.4155 | 278.709 | 66.2438 | 18.7065
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.2598 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030536 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | 0.1394 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 42.1686 | 23.8545 | -
Lower Sileru | 460 | 1 | 100 | 338.8176 | 96.5243 | 28.4886 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 9.2118 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.027743 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.39683 | 53.8754 | 0.33973
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 43.9122 | 99.3633 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 14.1278 | - | -
APPDCL Stage-I | 1600 | 6.5 | 56.5 | 628.8586 | 619.39 | 55.6493 | 9.4686
APPDCL Stage-II | 800 | 5.75 | 0.65 | 3.6463 | -2.0595 | -0.36713 | 5.7059
HNPCL | 1040 | 5.75 | 61.75 | 450.3235 | 451.697 | 61.9383 | -
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 93.15 | 159.7794 | 158.7897 | 92.573 | 0
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 386.4 | 87.4703 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 84.192 | 162.0713 | 159.1501 | 82.8057 | 2.9212
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 103.843 | 50.6615 | 47.8455 | 98.4581 | 2.816
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 64.903 | 80.1819 | 78.1136 | 64.4514 | 2.0684
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 101.042 | 326.4253 | 292.0291 | 90.3185 | 34.3962
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 77.209 | 112.2766 | 93.6869 | 64.5188 | 18.5896
NTPC Kudgi Stage-I | 209.496 | 6.25 | 86.813 | 124.8923 | 95.9112 | 65.6371 | 28.981
NTECL Valluru | 87.165 | 6.69 | 79.586 | 48.035 | 45.0645 | 74.4717 | 2.9705
NLC Stage-I | 46.5381 | 10 | 39.193 | 11.4521 | 12.4296 | 39.8871 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.47 | 10 | 43.058 | 23.5657 | 25.057 | 43.7825 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 80.49 | 1.7375 | 1.7767 | 114.0203 | -
NLC TPS- II Expn. | 2.68 | 10 | 30.207 | 0.55421 | 0.54352 | 30.2 | 0.010691
NLC NNTPS | 52.68 | 6.25 | 61.596 | 21.3399 | 22.6937 | 61.7611 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 45.86 | 39.5864 | 38.6514 | 43.9836 | 0.935

## September (hidden)
Availability of Generating Stations during September FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | SEPTEMBER
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 66.01 | 544.9469 | 528.593 | 64.029 | 16.3539
Dr. NTTPS-IV | 500 | 7.5 | 80.82 | 269.1306 | 252.185 | 75.7312 | 16.9456
RTPP Stage-I | 420 | 9 | 69.94 | 192.4637 | 175.7027 | 63.8492 | 16.761
RTPP Stage-II | 420 | 9 | 92.3 | 253.9948 | 225.1573 | 81.8206 | 28.8375
RTPP Stage-III | 210 | 9 | 79.23 | 109.0141 | 97.8788 | 71.137 | 11.1353
RTPP Stage-IV | 600 | 5.75 | 61.04 | 248.5305 | 229.262 | 56.3076 | 19.2685
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2266 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.029752 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0896 | - | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 25.7298 | 15.0404 | -
Lower Sileru | 460 | 1 | 100 | 327.888 | 91.3172 | 27.8501 | -
Donkarayi | 25 | 1 | 100 | 17.82 | 10.0329 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.022369 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.408 | 57.2391 | 0.3048
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 38.055 | 88.9801 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 19.6831 | - | -
APPDCL Stage-I | 1600 | 6.5 | 40.04 | 431.2788 | 429.179 | 39.845 | 2.0998
APPDCL Stage-II | 800 | 5.75 | 5.69 | 30.8899 | 27.042 | 4.9812 | 3.8479
HNPCL | 1040 | 5.75 | 84.14 | 593.813 | 500.95 | 70.9818 | 92.863
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 93.1 | 154.5423 | 147.721 | 88.9907 | -0.9247
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 378 | 88.4211 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 86.473 | 154.4198 | 139.4978 | 75 | 14.9221
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 103.704 | 47.2536 | 41.1442 | 87.4902 | 6.1094
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 78.205 | 91.7568 | 86.3126 | 73.5903 | 5.4441
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 104.394 | 321.9333 | 222.4688 | 71.0984 | 99.4646
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 104.734 | 130.2546 | 79.5894 | 56.6374 | 50.6651
NTPC Kudgi Stage-I | 209.496 | 6.25 | 87.162 | 108.7965 | 54.3805 | 38.456 | 54.4159
NTECL Valluru | 87.165 | 6.69 | 60.557 | 35.2243 | 31.2157 | 53.3054 | 4.0086
NLC Stage-I | 46.5381 | 10 | 38.278 | 10.5146 | 11.3731 | 37.7133 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.47 | 10 | 30.08 | 15.4759 | 16.3857 | 29.5853 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 73.283 | 1.1051 | 1.0443 | 69.2534 | -
NLC TPS- II Expn. | 2.68 | 10 | 63.626 | 1.1297 | 1.0558 | 60.7983 | 0.073844
NLC NNTPS | 52.68 | 6.25 | 52.738 | 17.4622 | 18.014 | 50.6593 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 82.845 | 67.7659 | 61.8406 | 72.7175 | 5.9254
NTPC-TELANGANA-STPS STAGE-1 | 800 |  | 18.6 | 1.0094 | 0.084718 | 0.014708 | 0.9247

## October (hidden)
Availability of Generating Stations during October FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | OCTOBER
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 70.82 | 604.1445 | 587.171 | 68.8303 | 16.9735
Dr. NTTPS-IV | 500 | 7.5 | 82.35 | 283.3663 | 277.6385 | 80.6854 | 5.7278
RTPP Stage-I | 420 | 9 | 56.47 | 160.5763 | 156.0325 | 54.8721 | 4.5438
RTPP Stage-II | 420 | 9 | 90.25 | 256.632 | 242.3519 | 85.2281 | 14.2801
RTPP Stage-III | 210 | 9 | 81.05 | 115.2356 | 108.078 | 76.0158 | 7.1576
RTPP Stage-IV | 600 | 5.75 | 62.73 | 263.9252 | 257.637 | 61.2354 | 6.2882
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2124 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.02851 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0898 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 17.978 | 10.17 | -
Lower Sileru | 460 | 1 | 99.19 | 336.0732 | 104.3462 | 30.7972 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 11.9662 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.029845 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.45315 | 61.5225 | 0.28341
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 43.5354 | 98.5106 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 19.09 | - | -
APPDCL Stage-I | 1600 | 6.5 | 49.98 | 556.2894 | 554.776 | 49.844 | 1.5134
APPDCL Stage-II | 800 | 5.75 | 25.85 | 145.0123 | 134.377 | 23.9541 | 10.6353
HNPCL | 1040 | 5.75 | 85.08 | 620.4619 | 586.8739 | 80.4743 | 33.588
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 84.77 | 145.4053 | 143.1974 | 83.4828 | 2.2079
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 385.0674 | 87.1686 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 70.803 | 129.1399 | 119.5963 | 62.2259 | 9.5437
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 100.011 | 46.2458 | 43.9681 | 90.479 | 2.2777
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 99.713 | 122.5746 | 123.9425 | 102.2648 | -
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 93.174 | 300.8568 | 278.1768 | 86.0343 | 22.6799
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 84.604 | 124.8101 | 100.7844 | 69.4066 | 24.0257
NTPC Kudgi Stage-I | 209.496 | 6.25 | 91.278 | 125.6928 | 80.7515 | 55.2625 | 44.9412
NTECL Valluru | 87.165 | 6.69 | 62.732 | 37.3595 | 36.2941 | 59.9781 | 1.0655
NLC Stage-I | 46.5381 | 10 | 39.741 | 11.4826 | 12.2571 | 39.3334 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
NLC Stage-II | 85.47 | 10 | 43.003 | 23.2489 | 24.2857 | 42.4348 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 61.911 | 0.94349 | 0.9385 | 60.2277 | -
NLC TPS- II Expn. | 2.68 | 10 | 46.859 | 0.83619 | 0.82097 | 45.7485 | 0.015222
NLC NNTPS | 52.68 | 6.25 | 81.499 | 27.9804 | 29.8631 | 81.2727 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 94.125 | 80.2918 | 78.3942 | 89.2091 | 1.8977
NTPC-TELANGANA-STPS STAGE-1 | 800 |  | 92.109 | 5.1654 | 5.1895 | 0.87189 | -

## November (hidden)
Availability of Generating Stations during November FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | NOVEMBER
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 74.12 | 611.8991 | 584.2647 | 70.7726 | 27.6344
Dr. NTTPS-IV | 500 | 7.5 | 76.88 | 256.0104 | 236.076 | 70.8937 | 19.9344
RTPP Stage-I | 420 | 9 | 54.82 | 150.8559 | 145.1391 | 52.7426 | 5.7168
RTPP Stage-II | 420 | 9 | 93.95 | 258.5354 | 240.0086 | 87.2175 | 18.5268
RTPP Stage-III | 210 | 9 | 86.8 | 119.4299 | 110.5976 | 80.3808 | 8.8323
RTPP Stage-IV | 600 | 5.75 | 70.69 | 287.8214 | 277.455 | 68.144 | 10.3664
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2034 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.02749 | - | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | -0.0524 | - | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 33.1289 | 19.3655 | -
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 83.131 | 25.3535 | -
Donkarayi | 25 | 1 | 94.7 | 16.8755 | 9.1005 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.031662 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.25883 | 36.311 | 0.45397
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 42.5598 | 99.5132 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 15.442 | - | -
APPDCL Stage-I | 1600 | 6.5 | 24.9 | 268.2029 | 269.322 | 25.0039 | - | Despatch>Availability due to the variation in time of readings in JMRs.
APPDCL Stage-II | 800 | 5.75 | 68.46 | 371.6556 | 376.4695 | 69.3467 | -
HNPCL | 1040 | 5.75 | 51.05 | 360.2823 | 352.2497 | 49.9118 | 8.0326
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 75.57 | 125.4412 | 125.4412 | 75.5688 | 0
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 254.8292 | 59.6092 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 92.932 | 171.4401 | 154.3489 | 82.9846 | 17.0912
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 100.011 | 46.705 | 42.6707 | 90.7362 | 4.0343
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 100 | 119.1645 | 119.1983 | 101.6287 | -
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 65.586 | 205.2202 | 203.2249 | 64.9483 | 1.9953
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 98.605 | 141.0333 | 139.0423 | 98.9453 | 1.9909
NTPC Kudgi Stage-I | 209.496 | 6.25 | 83.577 | 108.9928 | 30.2418 | 21.3859 | 78.751
NTECL Valluru | 87.165 | 6.69 | 55.376 | 31.993 | 28.2667 | 48.2695 | 3.7263
NLC Stage-I | 46.5381 | 10 | 43.887 | 12.2731 | 13.1824 | 43.7129 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC Stage-II | 85.47 | 10 | 35.082 | 18.3494 | 19.4125 | 35.0503 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 77.644 | 1.1451 | 1.142 | 75.7283 | 0.003108
NLC TPS- II Expn. | 2.68 | 10 | 59.338 | 1.0247 | 1.0162 | 58.5179 | 0.008475
NLC NNTPS | 52.68 | 6.25 | 91.91 | 30.5368 | 32.5862 | 91.6399 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 69.675 | 57.4942 | 56.4424 | 66.3699 | 1.0519
NTPC-TELANGANA-STPS STAGE-1 | 800 |  | 67.981 | 3.6893 | 3.5741 | 0.6205 | 0.11524

## December (hidden)
Availability of Generating Stations during December FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | DECEMBER
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 58.23 | 496.7429 | 449.9109 | 52.7402 | 46.832
Dr. NTTPS-IV | 500 | 7.5 | 80.6 | 277.3446 | 242.078 | 70.3511 | 35.2666
Dr. NTTPS-V | 800 | 5.75 | 63.12 | 137.0663 | 132.75 | 23.6641 |  | COD of Dr.NTTPS (1*800MW) was declared from 00:00 hours of 21.12.2023.
RTPP Stage-I | 420 | 9 | 78.17 | 222.2817 | 207.8162 | 73.0829 | 14.4655
RTPP Stage-II | 420 | 9 | 53 | 150.7091 | 129.1616 | 45.4224 | 21.5475
RTPP Stage-III | 210 | 9 | 93.54 | 132.9937 | 117.556 | 82.682 | 15.4377
RTPP Stage-IV | 600 | 5.75 | 64.89 | 273.013 | 249.508 | 59.3033 | 23.505
Srisailam RCPH | 770 | 1 | 100 | 567.1512 | -0.171 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.024873 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0618 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 33.811 | 19.1266 | -
Lower Sileru | 460 | 1 | 80.65 | 273.2564 | 89.874 | 26.5258 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 10.8194 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.031342 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.17255 | 23.4265 | 0.56401
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 47.5902 | 107.6857 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 6.8577 | - | -
APPDCL Stage-I | 1600 | 6.5 | 38.06 | 423.6169 | 417.001 | 37.4656 | -
APPDCL Stage-II | 800 | 5.75 | 38.69 | 217.0416 | 207.065 | 36.9116 | -
HNPCL | 1040 | 5.75 | 46.96 | 342.4646 | 325.3121 | 44.608 | 17.1525 |  | 100.171
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 58.3988 | 100.171 | 97.4875 | 56.8344 | 2.6835
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 291.8443 | 66.0655 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 98.336 | 184.5285 | 149.7624 | 77.9213 | 34.766
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 89.817 | 43.2643 | 36.8942 | 75.9221 | 6.3701 |  | 1000000
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 98.898 | 121.1175 | 121.4616 | 100.2178 | -
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 41.63 | 134.6033 | 126.9825 | 39.273 | 7.6208
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 99.107 | 141.8062 | 126.534 | 87.1395 | 15.2722
NTPC Kudgi Stage-I | 209.496 | 6.25 | 66.667 | 92.6619 | 32.752 | 22.4139 | 59.91
NTECL Valluru | 87.165 | 6.69 | 35.947 | 20.109 | 11.9833 | 19.803 | 8.1258
NLC Stage-I | 46.5381 | 10 | 48.615 | 13.4424 | 13.773 | 44.1983 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC Stage-II | 85.47 | 10 | 32.391 | 16.7766 | 17.3681 | 30.3475 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 58.352 | 0.87424 | 0.86241 | 55.3444 | 0.011829
NLC TPS- II Expn. | 2.68 | 10 | 34.573 | 0.60653 | 0.58317 | 32.497 | 0.023365
NLC NNTPS | 52.68 | 6.25 | 100.057 | 34.078 | 35.8572 | 97.5857 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 58.59 | 48.3893 | 41.4421 | 47.1593 | 6.9472
NTPC-TELANGANA-STPS STAGE-1 | 8 |  | 66.868 | 3.7126 | 2.9981 | 50.3719 | 0.71444
*Dr.NTTPS Stage-V (1*800MW) has completed the COD at 10:45 hours on 20-12-2023.APGENCO declared the COD of the unit from 00:00 hours of 21.12.2023.

## Jan-24 (hidden)
Availability of Generating Stations during January FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | DECEMBER
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 76.24 | 650.3809 | 613.9074 | 71.9644 | 36.4735
Dr. NTTPS-IV | 500 | 7.5 | 85.96 | 295.7884 | 269.3945 | 78.2896 | 26.3939
Dr. NTTPS-V | 800 | 5.75 | 36.39 | 204.1392 | 202.0125 | 36.0109 |  | COD of Dr.NTTPS (1*800MW) was declared from 00:00 hours of 21.12.2023.
RTPP Stage-I | 420 | 9 | 79.92 | 227.258 | 210.193 | 73.9188 | 17.065
RTPP Stage-II | 420 | 9 | 99.54 | 283.0488 | 241.7873 | 85.0295 | 41.2615
RTPP Stage-III | 210 | 9 | 97.85 | 139.1216 | 120.1424 | 84.5012 | 18.9792
RTPP Stage-IV | 600 | 5.75 | 80.19 | 337.385 | 302.87 | 71.9864 | 34.515
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.19885 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.024921 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0606 | - | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 42.6512 | 24.1275 | -
Lower Sileru | 460 | 1 | 95.55 | 323.7402 | 86.3548 | 25.4871 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 10.5569 | - | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.024014 | - | -
Minihydel(Chettipet) | 1 | 1 | 94.12 | 0.69325 | 0.2115 | 28.7146 | 0.48175
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 46.8036 | 105.9058 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.3942 | - | -
APPDCL Stage-I | 1600 | 6.5 | 28.78 | 320.3283 | 309.463 | 27.8038 | -
APPDCL Stage-II | 800 | 5.75 | 41.92 | 235.1611 | 230.942 | 41.1679 | -
HNPCL | 1040 | 5.75 | 58.41 | 425.9659 | 391.9745 | 53.749 | 33.9914
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 95.5421 | 163.8826 | 162.0047 | 94.4473 | 1.8779
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 286.5266 | 64.8617 | 0
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 87.063 | 183.7405 | 151.8379 | 82.6372 | 31.9026
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 101.339 | 47.4885 | 40.1527 | 84.5524 | 7.3358
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 90.635 | 121.6436 | 120.1394 | 98.7634 | -
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 89.776 | 286.6052 | 267.4135 | 93.3038 | 19.1917
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 91.426 | 149.1471 | 129.4682 | 86.8057 | 19.6788
NTPC Kudgi Stage-I | 209.496 | 6.25 | 88.945 | 122.9152 | 84.2312 | 68.5279 | 38.684
NTECL Valluru | 87.165 | 6.69 | 68.991 | 19.6993 | 13.3814 | 67.9282 | 6.3179
NLC Stage-I | 46.5381 | 10 | 46.367 | 13.8723 | 14.8647 | 107.1538 | - | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC Stage-II | 85.47 | 10 | 35.406 | 26.0947 | 27.1574 | 104.0723 | -
NLC TPS- I Expn. | 2.289 | 8.5 | 77.496 | 1.508 | 1.4565 | 96.5822 | 0.051541
NLC TPS- II Expn. | 2.68 | 10 | 49.542 | 0.7829 | 0.77488 | 98.9762 | 0.0080153
NLC NNTPS | 52.68 | 6.25 | 85.518 | 34.4424 | 36.4498 | 105.8283 | -
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 69.94 | 46.0103 | 45.8546 | 99.6616 | 0.15572
NTPC-TELANGANA-STPS STAGE-1 | 8 |  | 76.408 | 2.0388 | 1.6289 | 79.8941 | 0.40992
*Dr.NTTPS Stage-V (1*800MW) has completed the COD at 10:45 hours on 20-12-2023.APGENCO declared the COD of the unit from 00:00 hours of 21.12.2023.

## Feb-24 (hidden)
Availability of Generating Stations during February FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | February
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 80.87 | 645.3698 | 600.507 | 75.2483 | 44.8628
Dr. NTTPS-IV | 500 | 7.5 | 80.37 | 258.711 | 242.032 | 75.1886 | 16.679
Dr. NTTPS-V | 800 | 5.75 | 6.89 | 36.1576 | 27.6967 | 5.2777 | 8.4609 | COD of Dr.NTTPS (1*800MW) was declared from 00:00 hours of 21.12.2023.
RTPP Stage-I | 420 | 9 | 83.1 | 221.0553 | 204.7702 | 76.978 | 16.2851
RTPP Stage-II | 420 | 9 | 96.96 | 257.9245 | 226.0651 | 84.9833 | 31.8594
RTPP Stage-III | 210 | 9 | 88.27 | 117.404 | 104.2208 | 78.3582 | 13.1832
RTPP Stage-IV | 600 | 5.75 | 78.05 | 307.1954 | 280.661 | 71.3083 | 26.5344
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2264 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.02483 | - | -
NSTPDC PH | 50 | 1 | 100 | 34.452 | -0.0562 | -0.16313 | -
Upper Sileru | 240 | 1 | 100 | 165.3696 | 10.3654 | 6.268 | -
Lower Sileru | 460 | 1 | 100 | 316.9584 | 27.0226 | 8.5256 | -
Donkarayi | 25 | 1 | 100 | 17.226 | 3.1188 | 18.1053 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030093 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.68904 | 0.2372 | 34.4247 | 0.45184
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 26.4108 | 63.8831 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 1.1159 | 2.8116 | -
APPDCL Stage-I | 1600 | 6.5 | 51.79 | 539.2458 | 537.268 | 51.6001 | 1.9778
APPDCL Stage-II | 800 | 5.75 | 56.62 | 297.1327 | 294.5765 | 56.1329 | 2.5562
HNPCL | 1040 | 5.75 | 47.16 | 321.7346 | 304.3763 | 44.6156 | 17.3583
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 96.89 | 155.4724 | 146.7503 | 91.4544 | 8.7221
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 289.4317 | 70.0379 | -
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 83.724 | 145.3575 | 137.6831 | 76.5769 | 7.6745
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 99.999 | 43.9063 | 41.9338 | 92.2439 | 1.9725
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 100 | 114.2658 | 113.7584 | 100.3351 | 0.50742
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 99.76 | 301.452 | 272.8693 | 90.213 | 28.5827
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 96.754 | 132.4909 | 120.3068 | 88.5649 | 12.1841
NTPC Kudgi Stage-I | 209.496 | 6.25 | 99.128 | 132.7565 | 108.5045 | 79.3764 | 24.252
NTECL Valluru | 87.165 | 6.69 | 26.512 | 14.7084 | 14.1163 | 24.9369 | 0.59204
NLC Stage-I | 46.5381 | 10 | 51.791 | 13.9405 | 15.1049 | 51.8154 | -1.1645 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC Stage-II | 85.47 | 10 | 55.072 | 27.5995 | 29.1649 | 54.4747 | -1.5653
NLC TPS- I Expn. | 2.289 | 8.5 | 100.182 | 1.4095 | 1.3796 | 94.6415 | 0.029852
NLC TPS- II Expn. | 2.68 | 10 | 31.306 | 0.52163 | 0.51399 | 30.6174 | 0.0076381
NLC NNTPS | 52.68 | 6.25 | 73.061 | 23.3405 | 24.5578 | 71.4435 | -1.2173
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 55.003 | 43.8743 | 43.8758 | 53.3721 | -0.0015096
NTPC-TELANGANA-STPS STAGE-1 | 8 |  | 97.432 | 2.187 | 2.1672 | 38.922 | 0.019783

## Mar-24
Availability of Generating Stations during March FY2023-24 (ANNEXURE-3)
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | March
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 75.25 | 641.9355 | 592.953 | 69.5081 | 48.9825 |  | 218.9182 | 48.9825
Dr. NTTPS-IV | 500 | 7.5 | 87.61 | 301.466 | 279.562 | 81.2444 | 21.904 |  | 103.2143 | 21.904
Dr. NTTPS-V | 800 | 5.75 | 53.82 | 301.9173 | 291.3222 | 51.9313 | 10.5951 |  | 107.5561 | 10.5951
RTPP Stage-I | 420 | 9 | 79.44 | 225.893 | 216.9701 | 76.3021 | 8.9229 |  | 80.1054 | 8.9229
RTPP Stage-II | 420 | 9 | 93.4 | 265.5893 | 239.9988 | 84.4006 | 25.5905 |  | 88.6076 | 25.5905
RTPP Stage-III | 210 | 9 | 85.65 | 121.7758 | 111.2949 | 78.2783 | 10.4809 |  | 41.0901 | 10.4809
RTPP Stage-IV | 600 | 5.75 | 63.56 | 267.4173 | 247.338 | 58.7875 | 20.0793 |  | 91.3172 | 20.0793
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.26155 | - | - |  | -0.096564 | 0.26155
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.031165 | - | - |  | -0.011506 | 0.031165
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0745 | -0.20229 | - |  | -0.027505 | 36.9025
Upper Sileru | 240 | 1 | 100 | 176.7744 | 16.0718 | 9.0917 | - |  | 5.9337 | 160.7026
Lower Sileru | 460 | 1 | 100 | 338.8176 | 72.3591 | 21.3564 | - |  | 26.715 | 266.4585
Donkarayi | 25 | 1 | 100 | 18.414 | 9.0041 | 48.8979 | - |  | 3.3243 | 9.4099
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.019138 | - | - |  | -0.0070657 | 0.019138
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.26645 | 36.1749 | 0.47011 |  | 0.098373 | 0.47011
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 16.2384 | 36.7438 | 0 |  | 5.9952 | -16.2384
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 1.7161 | 4.0449 | - |  | 0.63358 | -1.7161
APPDCL Stage-I | 1600 | 6.5 | 52.93 | 589.1236 | 597.961 | 53.724 | -8.8374 | Due to taking of readings at different timings by SLDC and JMRs. | 220.7672 | -8.8374
APPDCL Stage-II | 800 | 5.75 | 68.92 | 386.6247 | 386.094 | 68.8254 | 0.53066 |  | 142.5459 | 0.53066
HNPCL | 1040 | 5.75 | 64.98 | 473.8789 | 427.6561 | 58.6418 | 46.2228 |  | 157.8906 | 46.2228
Thermal Powertech Corporation (SEIL P1) | 230.55 | 5 | 95.0465 | 163.0325 | 160.0441 | 98.2151 | 2.9884 |  | 59.0883 | 2.9884
SEIL P 2 | 625 | 5 | TO BE TAKEN SAME AS DESPATCH |  | 278.9584 | 63.1485 | - |  | 102.9914 | -278.9584
NTPC(SR) Ramagundam I & II | 277.893 | 7.04 | 93.957 | 178.9177 | 173.4734 | 90.2581 | 5.4443 |  | 64.0464 | 5.4443 | 93.957
NTPC(SR) Ramagundam III | 69.67 | 6.25 | 98.977 | 47.7594 | 46.52 | 95.7303 | 1.2395 |  | 17.1752 | 1.2395 | 98.9767
NTPC(SR) Talcher Stage-II | 173.76 | 6.25 | 97.73 | 120.0688 | 121.2281 | 100.0252 | -1.1593 |  | 44.7574 | -1.1593 | 97.7297
NTPC(SR) Simhadri Stage-I | 461.1 | 5.75 | 97.715 | 315.6429 | 289.0756 | 89.405 | 26.5673 |  | 106.7267 | 26.5673 | 97.7148
NTPC(SR) Simhadri Stage-II | 207.08 | 5.75 | 97.456 | 144.1387 | 126.7593 | 87.2946 | 17.3795 |  | 46.7995 | 17.3795 | 97.4557
NTPC Kudgi Stage-I | 209.496 | 6.25 | 100 | 142.6918 | 110.3931 | 75.5478 | 32.2987 |  | 40.7571 | 32.2987 | 100
NTECL Valluru | 87.165 | 6.69 | 32.534 | 59.8874 | 18.6057 | 30.7469 | 41.2818 |  | 6.8692 | 41.2818 | 32.5335
NLC Stage-I | 46.5381 | 10 | 73.13 | 21.1156 | 22.8452 | 73.3114 | -1.7296 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement. | 8.4345 | -1.7296 | 73.1295
NLC Stage-II | 85.47 | 10 | 68.052 | 36.7661 | 38.914 | 67.995 | -2.1479 |  | 14.3671 | -2.1479 | 68.0522
NLC TPS- I Expn. | 2.289 | 8.5 | 100.06 | 1.5277 | 1.5082 | 96.7853 | 0.019558 |  | 0.55682 | 0.019558 | 100.0603
NLC TPS- II Expn. | 2.68 | 10 | 47.961 | 0.85586 | 0.85076 | 47.4085 | 0.0050974 |  | 0.3141 | 0.0050974 | 47.9607
NLC NNTPS | 52.68 | 6.25 | 103.749 | 35.6193 | 37.6488 | 102.4616 | -2.0295 |  | 13.8999 | -2.0295 | 103.749
NTPL(NLC TamilNadu) | 125.32 | 5.75 | 76.299 | 64.9893 | 62.1689 | 70.7454 | 2.8205 |  | 22.9527 | 2.8205 | 76.2988
NTPC-TELANGANA-STPS STAGE-1 | 8 |  | 84.593 | 4.2955 | 4.5006 | 75.6146 | -0.20512 |  | 1.6616 | -0.20512 | 84.5932